## Slide 1
Requirements
In the selected time range, display:
The total flow rate from
Goals: last
HINT: group, sum
The fill level of the city water tank
Goals: range, filter
The speed of the pump that refills the city water tank
Goals: range, filter
The most recent state of each valve. Use a green “1” to represent an open valve and a red “0” when is closed
Goals: last, custom function
The fill level of each tank down sampled to 1 min
Goals: aggregateWindow
The flow rate of each valve
Goals: last
The number of open valve
Goals: last
HINT: group, sum
The difference between the average water levels in two consecutive windows of one minute.
Goals: join, aggregateWindow, map
HINT: timeShift
☆
☆☆☆☆
☆☆
☆☆☆
☆☆☆☆
☆
☆☆☆☆
☆☆
The sum of the level of the 4 Tanks A1, A2, B1 and B2
Goals:aggregateWindow, map, and pivot
GAIN INDEPENCENCE

## Slide 2
Start: 2020-10-26 12:00:00.000 (UTC) - Stop: 2020-10-26 13:30:00.000 (UTC)
Test cases
Start: 2020-10-26 12:00:00.000 (UTC) - Stop: 2020-10-26 13:40:00.000 (UTC)